## Summary
Cost Summary
Appliances | 3185
Electrical | 3240
Solar | 1188
Wind | 0
Plumbing | 2150
HVAC | 360
Construction | 4000
Total | 14123

## Appliances
Item | Make | Model | Watts | Price Est | Supplier | Notes
Microwave
Range Hood
Oven / Stove
Washer / Dryer | LG | WM3488HW | 1200 | 1415 | amazon.com
Waterless Toilet | Separett | Villa 9210 | 2.5 | 1190 | separett-usa-orders.com
LED TV | Vizio | D55-D2 | 40 | 580 | amazon.com | Just an example to get idea of power requirements.
Total |  |  |  | 3185

## Electrical
Item | Make | Model | Watts | Qty | Price Est | Total | Supplier | Notes
Storage Battery | Vmaxtanks | SLR125 |  | 8 | 280 | 2240 | amazon.com
Inverter | Sun Gold Power | 3000W |  | 1 | 640 | 640 | amazon.com
DC Breaker Panel | Blue Sea Systems | Traditional 8-position |  | 1 | 190 | 190 | amazon.com
AC Breaker Panel | Blue Sea Systems | Traditional 6-position |  | 1 | 170 | 170 | amazon.com
Lighting
Accent Lighting | [7 empty] | Strip LED
Kitchen Ceiling Light
Kitchen Task Light
Bathroom Ceiling Light
Living Area Lighting
Bed Area Lighting
Utility Room Lighting
Crawl Space Lighting
Exterior Lighting
Total | [5 empty] | 3240

## Solar
Item | Make | Model | Watts | Qty | Price Est | Total | Supplier
Solar Panel | Renogy | 100W Polycrystalline |  | 6 | 118 | 708 | amazon.com
Charge Controller | Renogy | 60A MPPT |  | 1 | 480 | 480 | amazon.com
Total | [5 empty] | 1188

## Wind
Item | Description | Qty | Price Est | Total | Supplier | Notes
Total |  |  |  | 0

## Plumbing
Item | Make | Model | Watts | Qty | Price Est | Total | Supplier | Notes
Water Heater | Takagi | T-H3M-N | 54 | 1 | 790 | 790 | tanklessonline.com | On-demand. For both hot water and radiant heat.
Water Pump | Flojet | 2840-100 | 120 | 1 | 600 | 600 | pumpvendor.com
Holding Tank | Fol-Da-Tank | PW-275 | n/a | 1 | 760 | 760 | amazon.com | Flexible tank so it can be removed from crawl space for cleaning or repair.
Bath Sink
Bath Faucet
Shower Head
Shower Faucet
Shower Drain
Total | [5 empty] | 2150

## HVAC
Item | Make | Model | Watts | Qty | Price Est | Total | Supplier | Notes
Ventillation Blower | Vortex | S-800 | 232 | 2 | 180 | 360 | amazon.com
Circulation Pump |  |  |  | 3 |  |  |  | For radiant heat.
Pellet Stove | [7 empty] | Optional, for cold climates.
Heat Exchanger | [7 empty] | Could fit into ventilation duct. Optional, for cold climates.
Bath Exhaust
Total | [5 empty] | 360

## Construction
Item | Description | Qty | Price Est | Total | Supplier | Notes
Shipping Container | 40ft HC DD | 1 | 4000 | 4000 |  | Estimate. Double-door harder to find.
Delivery Cost
Common Lumber | 2" x 4" x 8'
Common Lumber | 2" x 2" x 8'
Plywood | 1/2" x 4' x 8'
Insulation - Bat | 24" x 4" x 8'
Insulation - Panel | 1.5" x 4' x 8'
Plastic Panel | 1/16" x 4' x 8'
Gypsum Firebreak | 5/8" x 4' x 10'
Entry Door |  | 2
Utility Door
Bathroom Door
Total |  |  |  | 4000